## US EIA 2023 AEO
Source | Average annual change (%)
Coal | -2.7%
Oil and Natural Gas Steam | -1.1%
Combined Cycle (CC) | 1%
Combustion Turbine/Diesel (CT) | 3.1%
Nuclear Power | -0.2%
Pumped Storage | 0%
Diurnal Storage | 6.3%
Fuel Cells | 0.7%
Total storage change | 7%
Renewable Sources | 3.7%
Distributed Generation (Natural Gas) | --
Total | 1.8%

## MA GOV All Options
Year | Nuclear | Hydropower | Biomass | Solar | Onshore Wind | Offshore Wind | SMR | New NG CT | New NG CC | Imports QC | Imports NBSO | Imports NYISO | Storage
2024 | 3350 | 900 | 400 | 9027 | 3233 | 974 | 0 | 0 | 0 | 2125 | 1050 | 3200 | 4199
2025 | 3350 | 900 | 400 | 10315 | 3563 | 1471 | 0 | 0 | 0 | 2125 | 1050 | 3200 | 4551
2026 | 3350 | 900 | 400 | 11833 | 3903 | 2029 | 0 | 0 | 0 | 3325 | 1050 | 3200 | 4968
2027 | 3350 | 900 | 400 | 13563 | 4254 | 2648 | 0 | 0 | 0 | 3325 | 1050 | 3200 | 5445
2028 | 3350 | 900 | 400 | 15490 | 4615 | 3327 | 0 | 0 | 0 | 3325 | 1050 | 3200 | 5976
2029 | 3350 | 900 | 400 | 17596 | 4988 | 4067 | 0 | 0 | 0 | 3325 | 1050 | 3200 | 6556
2030 | 3350 | 900 | 400 | 19864 | 5371 | 4867 | 0 | 0 | 0 | 3325 | 1050 | 3200 | 7180
2031 | 3350 | 900 | 400 | 22277 | 5764 | 5728 | 0 | 0 | 0 | 4525 | 1050 | 4000 | 7841
2032 | 3350 | 900 | 400 | 24819 | 6169 | 6650 | 0 | 0 | 0 | 4525 | 1050 | 4000 | 8536
2033 | 3350 | 900 | 400 | 27473 | 6584 | 7633 | 0 | 0 | 0 | 4525 | 1050 | 4000 | 9258
2034 | 3350 | 900 | 400 | 30221 | 7010 | 8676 | 0 | 0 | 0 | 4525 | 1050 | 4000 | 10003
2035 | 3350 | 900 | 400 | 33047 | 7446 | 9780 | 0 | 0 | 0 | 4525 | 1050 | 4000 | 10764
2036 | 3350 | 900 | 400 | 35934 | 7893 | 10944 | 0 | 0 | 0 | 4525 | 1050 | 4000 | 11537
2037 | 3350 | 900 | 400 | 38866 | 8351 | 12169 | 0 | 0 | 0 | 4525 | 1050 | 4000 | 12316
2038 | 3350 | 900 | 400 | 41824 | 8820 | 13455 | 0 | 0 | 0 | 4525 | 1050 | 4000 | 13096
2039 | 3350 | 900 | 400 | 44793 | 9299 | 14801 | 0 | 0 | 0 | 4525 | 1050 | 4000 | 13871
2040 | 3350 | 900 | 400 | 47756 | 9789 | 16209 | 0 | 0 | 0 | 4525 | 1050 | 4000 | 14637
2041 | 3350 | 900 | 400 | 50695 | 10290 | 17676 | 0 | 0 | 0 | 6225 | 1050 | 4800 | 15387
2042 | 3350 | 900 | 400 | 53593 | 10801 | 19205 | 0 | 0 | 0 | 6225 | 1050 | 4800 | 16117
2043 | 3350 | 900 | 400 | 56435 | 11324 | 20794 | 0 | 0 | 0 | 6225 | 1050 | 4800 | 16821
2044 | 3350 | 900 | 400 | 59203 | 11856 | 22444 | 0 | 0 | 0 | 6225 | 1050 | 4800 | 17493
2045 | 3350 | 900 | 400 | 61879 | 12400 | 24154 | 0 | 0 | 0 | 6225 | 1050 | 4800 | 18129
2046 | 3350 | 900 | 400 | 64448 | 12954 | 25925 | 0 | 0 | 0 | 6225 | 1050 | 4800 | 18723
2047 | 3350 | 900 | 400 | 66892 | 13519 | 27757 | 0 | 0 | 0 | 6225 | 1050 | 4800 | 19270
2048 | 3350 | 900 | 400 | 69195 | 14095 | 29650 | 0 | 0 | 0 | 6225 | 1050 | 4800 | 19764
2049 | 3350 | 900 | 400 | 71339 | 14681 | 31603 | 0 | 0 | 0 | 6225 | 1050 | 4800 | 20200
2050 | 3350 | 900 | 400 | 73308 | 15278 | 33617 | 0 | 0 | 0 | 6225 | 1050 | 4800 | 20572

## NG calculations
| All options |  |  |  |  | Pathway D
Year | solar | offshore wind | onshore wind | gas |  | solar | offshore wind | onshore wind | new gas
2050 | 72.78 | 34.15 | 15.14 | 15.44 |  | 23.212 | 2.504 | 8.315 | 29.45
CF | 0.144 | 0.451 | 0.315 | 0.6 | total | 0.144 | 0.451 | 0.315 | 0.83 | total | diff
TWh | 91.8076 | 134.9185 | 41.7773 | 81.1526 | 349.656 | 29.2805 | 9.8927 | 22.9444 | 295.2778 | 357.3955 | 23.56
[8 empty] | Selected NG | 56047 | in CT
81.1526

## Pathway D
Year | Nuclear | Hydropower | Biomass | Solar | Onshore Wind | Offshore Wind | SMR | New NG | Imports QC | Imports NBSO | Imports NYISO | Storage
2024 | 3350 | 900 | 400 | 9027 | 3233 | 974 | 0 | 0 | 2125 | 1050 | 3200 | 4199
2025 | 3350 | 900 | 400 | 9361 | 3353 | 1010 | 0 | 0 | 2125 | 1050 | 3200 | 4551
2026 | 3350 | 900 | 400 | 9707 | 3477 | 1047 | 0 | 0 | 3325 | 1050 | 3200 | 4968
2027 | 3350 | 900 | 400 | 10066 | 3606 | 1086 | 0 | 0 | 3325 | 1050 | 3200 | 5445
2028 | 3350 | 900 | 400 | 10438 | 3739 | 1126 | 0 | 0 | 3325 | 1050 | 3200 | 5976
2029 | 3350 | 900 | 400 | 10824 | 3877 | 1168 | 0 | 0 | 3325 | 1050 | 3200 | 6556
2030 | 3350 | 900 | 400 | 11224 | 4020 | 1211 | 0 | 0 | 3325 | 1050 | 3200 | 7180
2031 | 3350 | 900 | 400 | 11639 | 4169 | 1256 | 0 | 0 | 4525 | 1050 | 4000 | 7841
2032 | 3350 | 900 | 400 | 12070 | 4323 | 1302 | 0 | 0 | 4525 | 1050 | 4000 | 8536
2033 | 3350 | 900 | 400 | 12517 | 4483 | 1350 | 0 | 1696.5 | 4525 | 1050 | 4000 | 9258
2034 | 3350 | 900 | 400 | 12980 | 4649 | 1400 | 0 | 3393 | 4525 | 1050 | 4000 | 10003
2035 | 3350 | 900 | 400 | 13460 | 4821 | 1452 | 0 | 5089.5 | 4525 | 1050 | 4000 | 10764
2036 | 3350 | 900 | 400 | 13958 | 4999 | 1506 | 0 | 6786 | 4525 | 1050 | 4000 | 11537
2037 | 3350 | 900 | 400 | 14474 | 5184 | 1562 | 0 | 8482.5 | 4525 | 1050 | 4000 | 12316
2038 | 3350 | 900 | 400 | 15010 | 5376 | 1620 | 0 | 10179 | 4525 | 1050 | 4000 | 13096
2039 | 3350 | 900 | 400 | 15565 | 5575 | 1680 | 0 | 11875.5 | 4525 | 1050 | 4000 | 13871
2040 | 3350 | 900 | 400 | 16141 | 5781 | 1742 | 0 | 13572 | 4525 | 1050 | 4000 | 14637
2041 | 3350 | 900 | 400 | 16738 | 5995 | 1806 | 0 | 15268.5 | 6225 | 1050 | 4800 | 15387
2042 | 3350 | 900 | 400 | 17357 | 6217 | 1873 | 0 | 16965 | 6225 | 1050 | 4800 | 16117
2043 | 3350 | 900 | 400 | 17999 | 6447 | 1942 | 0 | 18661.5 | 6225 | 1050 | 4800 | 16821
2044 | 3350 | 900 | 400 | 18665 | 6686 | 2014 | 0 | 20358 | 6225 | 1050 | 4800 | 17493
2045 | 3350 | 900 | 400 | 19356 | 6933 | 2089 | 0 | 22054.5 | 6225 | 1050 | 4800 | 18129
2046 | 3350 | 900 | 400 | 20072 | 7190 | 2166 | 0 | 23751 | 6225 | 1050 | 4800 | 18723
2047 | 3350 | 900 | 400 | 20815 | 7456 | 2246 | 0 | 25447.5 | 6225 | 1050 | 4800 | 19270
2048 | 3350 | 900 | 400 | 21585 | 7732 | 2329 | 0 | 27144 | 6225 | 1050 | 4800 | 19764
2049 | 3350 | 900 | 400 | 22384 | 8018 | 2415 | 0 | 28840.5 | 6225 | 1050 | 4800 | 20200
2050 | 3350 | 900 | 400 | 23212 | 8315 | 2504 | 0 | 30537 | 6225 | 1050 | 4800 | 20572